## HC - Finish Schedule
Finishes Key | Finish Description | Finishes Specifications | Color | Intallation | SIZE
CPT | CARPET TILE | PatCraft Carpet Tile / Style Construkt / Studio Z6475 | Rock, Scissors, paper #00765 | ASHLAR 1/2 BOND, PRIMARY LINEAR PATTERN (ARROWS)TO RUN EAST-WEST THROUGHOUT BUILDING
WOCT | WALK OFF CARPET TILE | PHILADELPHIA, STEP ON IT WALK OFF CARPET TILE | COME ON IT #87510 | TO MATCH EXISTING PBPN STANDARDS - TYPICAL
VCT | VINYL COMPOSITION TILE | ARMSTRONG STANDARD EXCELON, IMPERIAL TEXTURE, | WASHED LINEN #51810 / PERFECT STORM #57551 / ADOBE #57544 | SEE HC WING B ADDITION DRAWINGS FOR PATTERN | 12" X 12"
VCT-IT | NON STATIC VCT | NON STATIC VCT & NON STATIC ADHESIVE ARMSTORNG EXCELON SDT | LIGHT GRAY | TO MEET REQUIREMENTS OF NON-STATIC VCT AND ADHESIVE | 12" X 12"
RB1 | RUBBER BASE | 4" HIGH ROPPE RUBBER BASE, COVED | #193 BLACK BROWN | ALL RUBBER BASE ALONG FLOOR (VCT AND CARPET LOCATIONS, ETC.) | 4" TALL
CT | CERAMIC TILE | CERAMIC TILE, FLOOR & WALL / AMERICAN OLEAN, UNION | WEATHERED BEIGE | 1/3 OFFSET, HORIZONTAL WALLS | 12' X 24"
CTA | CERAMIC TILE ACCENT | TILE ACCENT BAND 6" CAESER, PLACE, BRICKMIX MOSAIC | RUST | SEE HC WING B ADDITION DRAWINGS
CERMAIC TILE IN RESTROOMS: FLOORS AND WALLS TO BE 1/3 OFFSET. TILE FLOOR JOINTS TO RUN PARALLEL TO THE DOOR THRESHOLD. WALLS TO BE HORIZONTAL 1/3 OFFSET. JOINTS TO BE 1/8" TYPICAL. SCHLUTER, RENO TRANSITION AT DOORWAY TO PROVIDE ADA COMPLIANT TRANSITION
CTP | CERAMIC TILE PLANK | CERAMIC TILE PLANK WALLS / VIRGINIA TILE / CEASAR HIKE LODGE / MATTE | CAEHILO847R | RECEPTION DESK INSTALLATION - VERTICAL PLANK INSTALLATION. FULL TILE, NO CUT OR OFFSET. INSET BASE TO BE RUBBER. SCHLUTER JOLLY AT BASE OF TILE AND RONDEC CORNERS TO BE BRONZE | 8" X 47"
| CORNER GAURDS | Manufacturer: Arden Specialtes | #59 Canvas | ALL GYPSUM WALL CORNERS FOR PROTECTION
| CUSTOM GLASS PARTITION | GLASS PARTITIONS AT RECEPTION DESKS: POSTS - BRONZE POSTS TO MATCH PBPN STANDARD / GLASS - LAMINATED, SAFETY | POSTS - BRONZE | PERMANENT GLASS PARTITION (SNEEZE GUARD) ABOVE RECEPTION DESKS AS REQUESTED
P | PAINT | PAINT TYPICAL ON ALL WALLS UNLESS NOTED OTHERWISE | SEE BELOW
| P-1 | SHERWIN WILLIAMS SW6140 MODERATE WHITE, EGGSHEL FINISH "PRAIRIE BAND WHITE" | SW6140 MODERATE WHITE | TYPICAL (WALLS)
| P-2 | PITT TECH BRONZETONE#90-444, SATIN FINISH (HM DOORS & FRAMES INTERIOR & EXTERIOR) | PITT-TECH BRONZETONE #90-444 | TYPICAL (HOLLOW METAL DOORS AND FRAMES INTERIOR AND EXTERIOR)
| P-3 | CEILING WHITE: BENJAMIN MOORE, ULTRA SPEC 500, INTERIOR FLAT T535-TINT WHITE | ULTRA SPEC 500 | TYPICAL - CEILINGS - INTERIOR FLAT 7535 TINT WHITE
| P-4 (SAFETY) | RED SAFETY PAINT | SHERWIN WILLIAMS SW 4081 | USED TO IDENTIFY MAX HEIGHT, OR OTHER REQUIRED SAFETY LINES.
| P-5 (SAFETY) | YELLOW SAFETY PAINT (EXTERIOR PIPE BOLLARDS, GAS LINES) | SHERWIN WILLIAMS SW 4084 | USED TO IDENTIFY SAFETY ITEM SUCH AS PIPE BOLLARDS, GAS LINES, ETC.
SS1 | SOLID SURFACE COUNTERS | COUNTERTOPS, BACKSPLASHES, ETC. / WILSONART | WILSONART TUMBLED STONE #9220CE | TYPICAL
SS2 | SOLID SURFACE WINDOWS | WINDOW SILLS / WILSONART | WILSON ART ANTIQUE WHITE | TYPICAL
ACT | ACCOUSTICAL CEILING TILE | USG, 2X2 OR 2X4 RADAR CLIMALUS (55 NRC/35CAC) SQUARE EDGE / 15/16" GRID SYSTEM | USG #2210 OR #2215 | PBPN STANDARD AND CAN EITHER BE 2X2 OR 2X4 IN SIZE | 2'X2' OR 2'X4' X 5/8"
STORE FRONT | STORE FRONT | MATCH EXISTING (DARK BRONZE) THERMALLY BROKEN DOORS AND FRAMES WITH 1" LOW E INSULATING GLASS WITH 4.5" X 2" STOREFRONT SYSTEM FINISH MATCHING EXISTING COLOR, FRAME LITE AND DIMENSIONS | TYPICAL - DARK BRONZE
HM | HOLLOW METAL DOORS & FRAMES | HM FRAMES AND DOORS WITH FLUSH FACE. BOD CURRIES 707 SERIES, 16GA, POLYSTYRENE CORE, SIDE SEAM, JPAINT FINISH EXTERIOR DOORS TO BE GALVANIZED | PITT-TECH BRONZETONE #90-444 | INTERIOR AND EXTERIOR
HM FRAMES AND DOORS IN HARDENED AND STORM RATED ARES TO MEET ALL REQUIREMENTS FOR THE ADDITIONAL HARDWARE AS REQUIRED FOR THE HARDENED SPACE (3-POINT LATCH)
| ACOUSTICAL DOORS | MECHANICAL AND EQUIPMENT ROOOMS TO RECEIVE ACOUSTICAL DOOR KIT INCLUDING: SURFACE MOUNTED AUTOMATIC DOOR HARDWARE BOTTOMS AND GASKETING.
WD | WOOD DOORS | SOLID CORE WOOD VENEER DOORS, BOD VT HERITAGE DOOR. 5 LY, CUSTOM, GRADE A, MATCHING EXISTING SPECIES SELECT WHITE BIRCH, PLAIN SLICED, BOOK AND RUNNING MATCH. | FACTORY STAIN MATCH COLOR - OASIS, #0A18
| DOOR HARDWARE | PBPN CONTRACTED VENDOR - ACCESS CONTROL STANDARDS FOR ALL PBPN DOORS |  | USE PBPN STANDARD EQUIPMENT AND HARDWARE PER PBPN CONTRACTED VENDOR - ACCESS CONTROL
| ACCESS CONTROL | PBPN CONTRACTED VENDOR - ACCESS CONTROL STANDARDS FOR ALL PBPN DOORS |  | USE PBPN STANDARD ACCESS CONTROL WIRING AND HARDWARE PER PBPN CONTRACTED VENDOR - ACCESS CONTROL
STONE | STONE | COTTONWOOD LIMESTONE 2" VENEER STONE TO MATCH EXISTING. ASHLAR PATTERN, MORTAR COLOR GREY | COTTONWOOD LIMESTONE 2" VENEER / GREY MORTAR | ALL EXTERIOR STONE IS TO BE MORTARED IN PLACE. (NO DRY STACK STONE ON EXTERIOR OF BUILDINGS)
STONE | STONE CAP | CAST STONE CAP TO MATCH EXISTING BULIDING STANARD IN DIMENSION, PROFILE, COLOR & FINISH | MATCH EXISTING